## Slide 1
Infographics
Author: Shrihari Rao
Date: 12/July/2025

## Slide 2
01
02
03
04
Download log for a range of days or the entire log from Active Health System Log page.
iLO web Interface
Download the log by using the cURL command-line tool
cURL utility
Download the log by connecting a USB flash drive to the iLO Service Port on the front of the server
iLO Service Port
iLO RESTful API and RESTful Interface Tool
System Log Download Methods
For more information, see Link

## Slide 3
Firmware is located on the left navigation pane.
Click Firmware > Firmware Verification
The Scan Settings window appears.
Click Settings.
Set Scan interval in days. (Valid values from 1 to 365).
Select an Integrity Failure Action
Set Background Scan to enabled or disabled.
Set Enable Background Scan
Click X to close the Scan Settings window.
Click Update to update or click Cancel
1
2
3
4
5
Configuring firmware verification settings